## Slide 1: Mizuho Analysis Tool
User Manual
v1.2.0

## Slide 2: Agenda
Features
How to use
  Open application
  Analysis page
  Detection page

## Slide 3: Features
Load different images, and select region to analyze
Export csv file

## Slide 4: How to Use – Open Application
Open this executable

## Slide 5: How to Use – Analysis Page
Click here to load image
Supported format:
BMP & PNG
Default path

## Slide 6: How to Use – Analysis Page
Image loaded

## Slide 7: How to Use – Analysis Page
Change analysis param
  2 ways
    Drag circles on the image
    Edit in the forms
  New logs
    Generated automatically
    After changing any analysis parameter
More image interaction on image
  Mouse wheel – zoom in/out
Red circles
Base
End
Green circle
Log width (Y)
Log width (Y)

## Slide 8: How to Use – Analysis Page
Chart display config
(X) Analysis logs (Y)
Chart

## Slide 9: How to Use – Analysis Page
Click here to
export csv file

## Slide 10: How to Use – Analysis Page
Use with enhanced image
  Just click the check box to switch
  This will generate new logs with enhanced image automatically

## Slide 11: How to Use – Detection Page
Prerequisite
  Load image from analysis page & select analysis region
Navigate to this page via tabs

## Slide 12: How to Use – Detection Page
Image loaded
scrollable
Original image
Enhanced image

## Slide 13: How to Use – Detection Page
Result Area
  After clicking OK button , the Result Area will
  update.
Parameters
  After changing parameters, please click OK
  button to update the result on the Result
  Area.
Parameters
Result Area

## Slide 14: How to Use – Detection Page
Disease:
  Choose disease type.
Enhance:
  Enhancing the image or not.
  RGB Color:
    Choosing the color to analysis.
Use Filter:
  User can use filter or not.
4 Blocks Detection:
  User can use 4 Blocks Detection or not.
Strides Threshold:
  The stride size to calculate the difference of two value ( value is from average y-axis).
  It is recommended to keep the default value.
Range of start:
  The start coordination of x to analysis.
Range of end:
  The end coordination of x to analysis.
P/N Threshold:
  Peak diff value greater than the P/N threshold will be judged to positive.
  It is recommended to keep the default value.
Parameters Instruction

## Slide 15: How to Use – MultiResult Page
Prerequisite
  Put images into the correct file
    Click into file named samples.
    Select correct file of flu.
    Select correct file of concentration. If it’s negative put the
    image into the file of “0”.

## Slide 16: How to Use – MultiResult Page
Navigate to this page via tabs, and click the start button.
After clicking start button, there will show the result on the board
If the line is labeled by
Red color : In the wrong file
Green color : In the correct file
Yellow : Control Line ERROR

## Slide 17: How to Use – MultiResult Page
After slecting parameters, click Start button will show the result.
After clicking this button, it will show the copy of result on the clicpboard.
It will show the result of "4 Blocks Detection".
It will show the result of no "4 Blocks Detection".
Use "4 Blocks Dtection" or not.